JH Ranch

Planned Development (PD)
Master Plan

APPROVED 1982

AMENDMENT #1
APPROVED MARCH 1989

AMENDMENT #2
APPROVED OCTOBER 1993

AMENDMENT #3
APPROVED APRIL 2025

Table of Contents

Chapter 1: Introduction and Facility Capacity	3

Chapter 2: Development Objectives	5

Chapter 3: Infrastructure Capacity	6

Emergency Vehicle Access	6

Roadway Capacity	6

Chapter 4: Allowed Uses and structures	7

Uses Currently Approved	7

Occupancy	7

Housing	7

Non-Residential Structures	9

Structures Located Outside of APN 023-190-510	9

Structure Locations	10

Program Overview	10

Programs Offered	10

Recreational Uses	11

1993 Planned Development Activities	12

Chapter 5: JH Ranch Operations	13

Overall Operations	13

Access	13

Infrastructure	13

Heat Sources	13

Water	13

Waste Disposal	13

Lighting	14

Health and Safety	14

Food Preparation/Cooking	14

Staffing	14

CHAPTER 6: EMERGENCY EVACATION PLAN	14

Chapter 7: Compliance Review Procedure	15

Environmental Consistency	15

Appendix A: Emergency evacuation plan	16

Appendix B: Site Plan	49

# Chapter 1: Introduction and Facility Capacity

JH Ranch (“the Ranch”) is a faith-based organization that offers a wide variety of outdoor recreational activities to groups of people from across the country. In addition to the facilities and activities provided in the commercial and planned development areas on the Ranch, current programs include off-premises activities such as river raft trips, wilderness camping, and mountaineering excursions. The Ranch is located approximately 4 miles south of the city of Etna.

Due to the nature and orientation of the activities, the heaviest uses occur during the summer vacation months (May through September). In the off season (October through April) minimal staff is onsite, and no programs are offered. However, the Ranch will typically host congregational groups to utilize the lodge during the off season.

The property to which this PD zone applies consists of land in T41N, R9W, Sections 29 and 32 (MDB&M), excluding the portion currently zoned Rural Neighborhood Commercial (C-R) and Rural Residential Agricultural, 80-acre minimum parcel size (R-R-B-80). The property is owned by or otherwise fully controlled by JH Ranch. The location of the subject property is shown in Appendix B: Site Plan. The existing portions of the Ranch that are zoned C-R or R-R-B-80 are not included in this PD amendment.

The Planned Development District (PD) approved in 1982 applied exclusively to land in T41N, R9W, Sections 29 and 32 (MDB&M), approximately 79 acres. The establishment of the PD district allowed for the construction of five duplex cabins as well as a zone change from Rural Residential (RR) to Planned Development (PD) under Siskiyou County Ordinance 82-1090.

Amendment #1 fixed a zoning error, changing the zoning classification of a portion of the property from C-1 to Neighborhood Commercial (C-R) under Siskiyou County Ordinance 89-05.

Amendment #2 authorized the inclusion of 17 existing cabins, a laundry room, and a barn, under Siskiyou County Ordinance 93-41.

Amendment #3 intends to bring the current uses of the property into full compliance with what is currently occurring at the Ranch, including a historic occupancy of 505 persons. The current development is discussed in Chapter 4: Allowed Uses and Structures.

Additionally, four Use Permits (UP-70-22, UP-73-55, and UP-82-37) were previously approved for various Guest Ranch activities. In 1970, JD Proctor filed a Use Permit application (UP-70-22) to establish the original JH Ranch which consisted of a trailer park with 14 spaces. On August 1, 1973, UP-73-55 was then approved to allow for up to 136 people on site at any given time. In 1979, the Rolland Gene Johnston family purchased JH Ranch from JD Proctor. In 1982, Mr. Johnston applied for a Use Permit to construct five (5) duplex buildings in conjunction with the guest ranch. The Use Permit was approved on November 19, 1982 (UP-82-37).

# Chapter 2: Development Objectives

The development objectives of JH Ranch include:

Objective 1: Retain the existing maximum occupancy of 505 persons within the 79-acre PD area.

Objective 2: Conform all existing JH Ranch property and uses with the Siskiyou County Code (SCC).

# Chapter 3: Infrastructure Capacity

Overall design capacity of JH Ranch shall be deemed 505 individuals per day for the purposes of this ordinance, agency planning, environmental impact analysis, and compliance review. Infrastructure capacities shall be maintained which are sufficient to accommodate visitors to the Ranch in accordance with all applicable health and safety regulations.

Below are the current, planned, and potential capacities for infrastructure within the Ranch. Any additional capacity will be required to amend the Planned Development Master Plan.

| Infrastructure Capacity |  |
| --- | --- |
| Sewage Disposal |  |
| Current | 505 persons a day |
| Potential | Not to exceed 37,920 gallons per day. Any occupancy increase must update PD. |
| Water Supply |  |
| Current | 505 persons a day |
| Potential | Not to exceed 80 gallons per day. Any occupancy increase must update PD. |
| Fire Flow |  |
| Current | Per CAL FIRE 4291 requirements |
| Potential | Per CAL FIRE 4291 requirements. Any occupancy increase must update PD. |
| Access |  |
| Current | Not to exceed 505 persons a day |
| Potential | Any occupancy increase must update PD. |
| Parking |  |
| Current | Must provide parking per County Code Section 10-6.5610. |
| Potential | Any parking that exceeds County Code Section 10-6.5610 must update PD. |

tABLE 1: INFRASTRUCTURE CAPACITY

## Emergency Vehicle Access

Emergency vehicle access is provided by two vehicle bridges. The bridges have been constructed to provide emergency vehicle access and meet current CAL FIRE and County standards for fire truck load ratings. Paved and gravel roads provide all-weather access to developed portions of the property and structures and circular driveways and hammerhead turnarounds are provided at all structures. Please refer to the Site Plan for emergency access points.

## Roadway Capacity

JH Ranch is not proposing new structures or increasing existing baseline occupancy. When the Ranch proposes new structures and/or increases the occupancy, the Ranch will be required to comply with current Fire Safety Regulations for Public Resources Codes 4290 and 4291.

# Chapter 4: Allowed Uses and structures

This section identifies the allowable uses within the Ranch. Any additional uses not defined in the ‘Uses Currently Approved’ section below are required to follow the Compliance Review Procedure explained in Chapter 7. The uses that have not been evaluated under a certified environmental document section are subject to a use permit approval as well as environmental review.

## Uses Currently Approved

This section applies to all uses that have been evaluated under previous PD amendments (i.e., 1982, 1989, and 1993). Should the Ranch wish to expand and/or modify their uses, structures, programs, or operations, review of the PD and environmental review will be triggered.

### Occupancy

The PD will maintain the occupancy at 505 occupants within the property.

### Housing

The following housing is existing:

| Housing Name | Housing Type | Square Footage | Occupancy |
| --- | --- | --- | --- |
| Cottonwoods | Two-Story Duplex Cabin, Guest Housing | 2,092 | 32 persons |
| Dogwoods | Two-Story Duplex Cabin, Guest Housing | 2,092 | 32 persons |
| Ponderosa | Single-Story Duplex Cabin, Guest Housing | 1,664 | 28 persons |
| Redwoods | Single-Story Duplex Cabin, Guest Housing | 1,664 | 28 persons |
| Hemlocks | Single-Story Duplex Cabin, Guest Housing | 800 | 20 persons |
| Birches | Single-Story Duplex Cabin, Guest Housing | 906 | 20 persons |
| Willows | Single-Story Duplex Cabin, Guest Housing | 906 | 20 persons |
| Maples | Single-Story Duplex Cabin, Guest Housing | 906 | 20 persons |
| Madrones | Single-Story Duplex Cabin, Guest Housing | 906 | 20 persons |
| Alders | Single-Story Cabin, Staff Housing | 713 | 8 persons |
| Oaks | Single-Story Cabin, Staff Housing | 713 | 8 persons |
| Cedars | Single-Story Cabin, Staff Housing | 713 | 6 persons |
| Firs | Single-Story Cabin, Guest Housing | 713 | 8 persons |
| Pines | Single-Story Cabin, Guest Housing | 713 | 8 persons |
| Ranch House | Single-Family House, Staff Housing | 1,446 | 6 persons |
| Manor | Single-Family House | 4,200 | 24 persons |
| Eden | Single-Story Bunk Cabin, Staff Housing | 312 | 6 persons |
| Breezeway | Single-Story Bunk Cabin, Staff Housing | 442 | 10 persons |
| Clark Creek | Single-Story Bunk Cabin, Staff Housing | 183 | 6 persons |
| Evergreens | Single-Story Duplex Cabin, Guest Housing | 1,664 | 28 persons |
| Fairly Creek | Single-Story Bunk Cabin, Staff Housing | 183 | 6 persons |
| Freedom Creek | Single-Story Bunk Cabin, Staff Housing | 183 | 6 persons |
| Jordan River | Single-Story Bunk Cabin, Staff Housing | 324 | 12 persons |
| Klamath River | Single-Story Bunk Cabin, Staff Housing | 324 | 12 persons |
| Miners Creek | Single-Story Bunk Cabin, Staff Housing | 183 | 6 persons |
| Patterson Creek | Single-Story Bunk Cabin, Staff Housing | 183 | 6 persons |
| Paynes Creek | Single-Story Bunk Cabin, Staff Housing | 183 | 6 persons |
| Rouge River | Single-Story Bunk Cabin, Staff Housing | 324 | 12 persons |
| Salmon River | Single-Story Bunk Cabin, Staff Housing | 324 | 12 persons |
| Scott River | Single-Story Bunk Cabin, Staff Housing | 324 | 12 persons |
| Shasta River | Single-Story Bunk Cabin, Staff Housing | 324 | 12 persons |
| Sugar Creek | Single-Story Bunk Cabin, Staff Housing | 183 | 6 persons |
| Trinity River | Single-Story Bunk Cabin, Staff Housing | 324 | 12 persons |
| Housing Occupancy Total |  | 458 |  |
| Square Footage Total |  | 27,114 |  |

tABLE 2: Housing CAPACITY

### Non-Residential Structures

The following non-residential structures are existing:

| Structure Name | Structure Type | Square Footage | Occupancy |
| --- | --- | --- | --- |
| Big Top Tent | Worship and Gathering Space | 10,000 | Per Fire Marshall |
| Chapel | Assembly/Offices | 1,562 | Per Fire Marshall |
| Dining Pavilion | Gathering/Food Service | 9,400 | Per Fire Marshall |
| Lodge | Food Service/Gathering/Infirmary/Offices/Store | 8,800 | Per Fire Marshall |
| S8 | Storage | 100 | Per Fire Marshall |
| Tennis Court | Recreational | N/A | Per Fire Marshall |
| Pond | Recreational | NA | Per Fire Marshall |
| Pool | Recreational | N/A | Per Fire Marshall |
| Building Occupancy Total |  | N/A |  |
| Square Footage Total |  | 29,862 |  |

tABLE 4: Structures and uses located in C-R Portion of property

### Structures Located Outside of APN 023-190-510

The following structures are existing and located outside the P-D property, but are still located within the larger JH Ranch project which consists of multiple parcels:

| Structure Name | Structure Type | Square Footage | Occupancy |
| --- | --- | --- | --- |
| Bear Trap | Storage | 1,940 | Per Fire Marshall |
| Carlise | Private Home | 4,500 | 6 persons |
| Convent | Staff Housing | 1,606 | 8 persons |
| Green Bean | Staff Housing | 1,222 | 8 persons |
| Manzanita | Staff Housing | 2,100 | 4 persons |
| Old Shop | Maintenance | 4,400 | Per Fire Marshall |
| Pump House 4 | Pump Systems | 170 | Per Fire Marshall |
| Ritz | Staff Housing | 1,530 | 12 persons |
| Ritz Garage | Storage | 672 | Per Fire Marshall |
| S16 | Storage | 141 | Per Fire Marshall |
| S17 | Storage | 230 | Per Fire Marshall |
| S18 | Storage/Garage | 680 | Per Fire Marshall |
| S19 | Storage | 192 | Per Fire Marshall |
| S20 | Storage | 280 | Per Fire Marshall |
| Sequoia | Staff Housing | 1,300 | 6 persons |
| Van Barn | Storage | 1,268 | Per Fire Marshall |
| Water Tanks | Water Storage | 640 | Per Fire Marshall |
| Woodlands A | Staff Housing | 2,300 | 6 persons |
| Woodlands B | Staff Housing | 964 | 2 persons |
| Building Occupancy Total |  | 26,135 |  |
| Square Footage Total |  | 52 (for residential structures) |  |

tABLE 5: Structures located outside of apn 023-190-510

## Structure Locations

The locations of all identified structures are referenced in the Site Plan. Structures are not allowed to be moved or modified without County approval. Should the Ranch wish to move or modify any structures within the PD, JH Ranch must follow the steps outlined in Chapter 7: Compliance Review Procedure.

## Program Overview

Below is a summary of the programs and activities currently offered at JH Ranch.

### Programs Offered

JH Ranch offers programs during the summer months that include:

- Six, one-week long Parent/Child (PC) programs that consist of approximately 250 guests per program. During selected weeks of the PC programs, JH Ranch also hosts its Cloud Nine (CL9) programs as well. The guest numbers of both PC and CL9 are included in the 250 total guest number referenced above. The PC program does not run concurrently with the Student Leadership program mentioned below.

- Two, two-week long Student Leadership (SL) programs that consists of approximately 300 students per program.

- One, one-week long Men’s program that consists of 75 guests. The Men’s program does not run concurrently with any other program.

#### Parent/Child (PC), Cloud 9 (CL9), and Men’s Programs

Guests arrive and depart from the Ranch by private car and typically arrive between 4 p.m. and 9 p.m. on the day of arrival and depart between 6 a.m. and l 0 a.m. on the day of departure. The days of arrival and departure occur on different days. During the program, a combination of private guest vehicles and bus transportation are used to transport guests to off-site activities. All off-site activities are permitted either through the Forest Service or private guide companies. Lodging is provided for guests in one of several guest units as noted on the Site Plan. Housing is determined based on the program needs and varies depending on participant numbers and availability.

#### Student Leadership (SL) Programs

The Ranch operates two, twelve-day SL programs that consist of approximately 300 students. Students arrive and depart from the Ranch by mass transportation and typically arrive at the Main Lodge between 7 p.m. and IO p.m. on the day of arrival and depart early morning on the day of departure. During the program, group transportation is used to transport students to off-site activities. All off-site activities are permitted either through the Forest Service or private guide companies. Lodging is provided for guests in one of several guest units as noted on the Site Plan. Housing is determined based on the program needs and varies depending on participant numbers and availability.

Should the Ranch wish change the programs offered on the property, the Ranch will be required to follow the steps outlined in Chapter 7: Compliance Review Procedure.

### Recreational Uses

Guests are offered a wide variety of recreational uses, including:

- Zip Line

- Ropes Course

- Climbing

- Tennis Court

- Soccer Field

- Swimming

- Walking

- Hiking (Onsite and Offsite)

- Student Retreats

- Horseback Riding (Onsite and Offsite)

- Pickleball

- Volleyball

- Diving

- Disc Golf

- Biking (Onsite and Offsite)

- Strength Training

- White Water Rafting (Offsite)

- Camping (Offsite)

- Mountain Climbing (Offsite)

## 1993 Planned Development Activities

There are a number of activities and uses that were approved in the 1993 Planned Development that have never been constructed or actualized:

- Bird Sanctuary

- Recreation Lake II

- Repelling Tower

- Equestrian Facility

- Barn Conversion

- Wilderness Chapel

# Chapter 5: JH Ranch Operations

The following information provides additional context on the overall operation of the JH Ranch property.

## Overall Operations

### Access

JH Ranch is accessed by Highway 3 to French Creek Road. Primary access to the property is provided via a bridge across French Creek at the main JH Ranch entrance. This location provides a central access point for guests, staff and deliveries. The primary vehicular traffic occurs from the main access point at the bridge up to the main lodge and down to the guest cabin area. Parking for guest vehicles is provided adjacent to guest housing facilities. This access point will continue to be the main access to JH Ranch and will be the focal point for all guest arrivals and departures, access by staff and other general uses of the property. No changes to the access road are proposed at this time.

Secondary access to JH Ranch properties is provided by the bridge and access road at Homestead Lane. This road provides access to private residences, not currently associated with JH Ranch, as well as other JH Ranch properties. Built at the expense of JH Ranch, this bridge and access road was constructed to eliminate conflicts between local residents and guest ranch staff and visitors along the access road through the JH Ranch guest housing area. This road and bridge provide public access as well as secondary guest ranch access, emergency vehicle access and large highway load vehicle access that might not have been accommodated by the main access road. This bridge can accommodate tractor trailers and exceeds the minimum CAL FIRE 4290 Fire Safety Regulations.

## Infrastructure

### Heat Sources

Most buildings are heated by electric source (HVAC units or mini splits). Laundry facilities and mechanic shops are heated by propane.

### Water

JH Ranches provides water that is monitored and regulated by the State Water Resources Control Board (SWRCB) to its facilities through a series of existing groundwater wells with storage tanks. JH Ranch’s potable water system is regulated by the California Department of Public Health (CDPH) as a Type N1, Transient Non-Community System (System No. 4700807).

### Waste Disposal

Trash is disposed of by an onsite trash compactor and is serviced by the Yreka Transfer Station.

### Lighting

Lighting is provided by electric source.

## Health and Safety

### Food Preparation/Cooking

Food preparation and cooking occurs in the permitted Commercial Kitchen in the Lodge.

## Staffing

JH Ranch employs approximately I0-15 full-time staff that are based in the Etna area, who provide maintenance, program management and other administrative functions for the Ranch. Also, during the summer season, approximately 25 full time staff relocate to the Ranch from the winter office in Birmingham, Alabama. These staff augment the local full-time staff and assist in administrative and program management for operations of the Ranch.

Additionally, JH Ranch utilizes approximately 145 volunteer summer crew from across the United States to serve in many different program areas. All crew arrive and depart from the Ranch by group transportation. During the summer season, all the crew and full-time staff live on existing and contiguous property. Vehicle parking for full-time staff is provided at their housing units. Many of the Etna based full time staff (typically varies from 5-10 people) commute to the Ranch daily via private vehicles. Parking for this staff is provided in the Lodge parking area.

Housing is provided for all the crew and Birmingham-based full-time staff in one of several staff housing units.

# CHAPTER 6: EMERGENCY EVACATION PLAN

An Emergency Evacuation Plan, otherwise known as the ‘JH Ranch Fire Emergency Procedure Plan’ was first prepared in May 2015 and was recently updated in November 2024. The plan has been reviewed and approved by the Siskiyou County Director of Office of Emergency Services (OES), Bryan Schenone. Any updates to the plan shall be required to be reviewed and approved by the Director of OES.

The plan in its entirety is attached to this document, under Appendix A.

# Chapter 7: Compliance Review Procedure

Periodically, the Ranch may care to confirm, or County staff may wish to review the consistency of a particular use or improvement proposal with the PD zone. Should either party wish a determination of compliance, administrative review may be accomplished as follows:

- The Ranch shall provide an adequately detailed description of the proposed use or improvement to the County Planning Director for consideration.

- The County Planning Director shall review the submittal and may inspect the site, request additional information, and suggest modifications and/or limitations as appropriate.

- The Ranch shall respond accordingly by hosting inspection, providing additional information, and confirming in writing the incorporation of modifications and/or limitations as called for by Planning Director.

- If the Planning Director deems the proposal consistent with the PD, the Ranch shall be advised accordingly in writing. The Ranch will then be free to proceed with the use and/or construction of the improvement subject to the satisfaction of other agency requirements and/or the issuance of a county building permit as applicable.

- If the Planning Director deems the proposal potentially inconsistent with the PD zone or that the use/facility contemplated is of such nature that an amendment and use permit modification is required, established County procedures shall apply.

## Environmental Consistency

Over time, the Ranch may want to alter or expand their uses and/or capacity contained within this Planned Development Master Plan. For any uses, structures, or programs not identified in this Master Plan, an amendment will be required, and environmental review will be triggered.

Additionally, if the Ranch exceeds their occupancy of 505 daily individuals, an environmental review will also be triggered.

# Appendix A: Emergency evacuation plan

# Appendix B: Site Plan